## Small Objects (ALL)
Item No. | Object | Location | System | System Owner | Sensitive Components (Max in Air [Gauss]) | Magnetic Mass | Risk Level | Notes | Installed
S1 | Fire Break Glass | West Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES | System | System Owner
S2 | Fire Alarm Control Box | West Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES | AFC | Tom Bradshaw
S3 | Fluorescent Exit Sign | West Wall | Infrastructure | Stewart Greenall |  |  |  |  | YES | Beam Stop | Geoff Barber
S4 | Switch Board D1 | West Wall | General Power | Ian Mullacrane |  |  |  |  | YES | cKOV | Lucien Cremaldi
S5 | PPS Magnetic Door Switch | West Wall | PPS | Craig Macwaters |  |  |  |  | YES | Compressed Air | Tim Hayler
S6 | PPS Status Light Circuit Breaker | West Wall | PPS | Craig Macwaters |  |  |  |  | YES | Conventional Magnets | Henry Nebrensky
S7 | Fire Bell and Beacon | West Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES | Decay Solenoid | Vicky Bayliss/Mike Courthold
S8 | Klaxon | West Wall | PPS | Craig Macwaters |  |  |  |  | YES | Diffuser | Victoria Blackmore
S9 | Web Cam | West Wall | Webcams | Henry Nebrenski |  |  |  |  | YES | EMR | Ruslan Asfandiarov
S10 | D18 RF Distribution Board | North West Corner | RF Distribution | Alan Grant |  |  |  |  | YES | Fire Protection | Ron Lambert/Andy Nichols
S11 | D16 Circuit Breakers X4 | North Wall | General Power | Ian Mullacrane |  |  |  |  | YES | General Power | Ian Mullacrane
S12 | Fluorescent Light | North Wall | Infrastructure | Stewart Greenall |  |  |  |  | YES | Global Vacuum | Vishal Francis
S13 | PPS Blue/White Light Test Box | North Wall | PPS | Craig Macwaters |  |  |  |  | YES | KL | Ludovico Tortora
S14 | Fire Bell and Beacon | North Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES | LH2 | Stephen Watson
S15 | Fire Break Glass | North Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES | Luminosity Monitor | Paul Soler
S16 | RF Cage PPS Magnetic Door Switch X2 | North Wall | PPS | Craig Macwaters |  |  |  |  | YES | MLCR | Craig Macwaters
S17 | RF Cage PPS Junction Box | North Wall | PPS | Craig Macwaters |  |  |  |  | YES | Networking | Craig Macwaters
S18 | D4 PSU Distribution Box | North Wall | General Power | Ian Mullacrane |  |  |  |  | YES | PPS | Craig Macwaters
S19 | RF Services D6 Power Feed | North Wall | RF Distribution | Alan Grant |  |  |  |  | YES | Radiation Shutter | Norbert Collomb
S20 | Fire Bell and Beacon | North Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES | RF Distribution | Alan Grant
S21 | MCB's | North Wall | General Power | Ian Mullacrane |  |  |  |  | YES | RFCC | Alan DeMello
S22 | Magnet ON Light PPS | North Wall | PPS | Craig Macwaters |  |  |  |  | YES | Spectrometer Solenoid | Roy Preece
S23 | PPS Magnetic Door Switch | North Wall Mezz | PPS | Craig Macwaters |  |  |  |  | YES | Target | Paul Smith
S24 | RF Mezz Search Junction Box | North Wall Mezz | RF Distribution | Alan Grant |  |  |  |  | YES | TOF0 | Maurizio Bonesini
S25 | Old Pressure Gauge Dial | North Wall Mezz | ISIS | #N/A |  |  |  |  | YES | TOF1 | Maurizio Bonesini
S26 | Power Isolation Box | North Wall Mezz | General Power | Ian Mullacrane |  |  |  |  | YES | TOF2 | Maurizio Bonesini
S27 | Emergency Lighting Contactor | North Wall Mezz | General Power | Ian Mullacrane |  |  |  |  | YES | Tracker | Craig Macwaters
S28 | Roof Fan Controls | North Wall Mezz | Infrastructure | Stewart Greenall |  |  |  |  | YES | Water | Tim Hayler
S29 | Fire Beacon | North Wall Mezz | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES
S30 | Environmental Sensor | North Wall Mezz |  | Pierrick Hanlet |  |  |  |  | YES
S31 | Webcam | North Wall Mezz | Webcams | Henry Nebrenski |  |  |  |  | YES
S32 | North Mezz Extension Distribution Board | North Wall Mezz | General Power | Ian Mullacrane |  |  |  |  | YES
S33 | Distribution Board | South Wall Mezz | General Power | Ian Mullacrane |  |  |  |  | YES
S34 | PPS LH2 Search Junction Box | South Wall Mezz | PPS | Craig Macwaters |  |  |  |  | YES
S35 | PPS LH2 Magentic Door Switch | South Wall Mezz | PPS | Craig Macwaters |  |  |  |  | YES
S36 | Fire Bell | South Wall Mezz | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES
S37 | LH2 Heater PSU | South Wall Mezz | LH2 | Stephen Watson |  |  |  |  | YES
S38 | LH2 Relays | South Wall Mezz | LH2 | Stephen Watson |  |  |  |  | YES
S39 | Pressure Gauge Dial | South Wall Mezz | LH2 | Stephen Watson |  |  |  |  | YES
S40 | D14 LH2 Mezz Power | South Wall Mezz | LH2 | Stephen Watson |  |  |  |  | YES
S41 | Crane Status Lights | South Wall Mezz | Infrastructure | Stewart Greenall |  |  |  |  | YES
S42 | PPS Speaker | South Wall Ground | PPS | Craig Macwaters |  |  |  |  | YES
S43 | Fire Bell and Beacon | South Wall Ground | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES
S44 | Neutron Monitor 20 | South Wall Ground |  | Francis Burge |  |  |  |  | YES
S45 | Fire Bell | South Wall Ground | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES
S46 | Router | South Wall Ground | Networking | Craig Macwaters |  |  |  |  | YES
S47 | Environmental Sensor | South Wall Ground |  | Pierrick Hanlet |  |  |  |  | YES
S48 | PPS Coil Feed Blue/White Light | South Wall Ground | PPS | Craig Macwaters |  |  |  |  | YES
S49 | Web Cam | South Wall Ground | Webcams | Henry Nebrenski |  |  |  |  | YES
S50 | DSA MCB D11 | South East Corner | General Power | Ian Mullacrane |  |  |  |  | YES
S51 | DSA Indication Box | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | YES
S52 | Linde Gas Analyser | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | YES
S53 | Fan | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | YES
S54 | Flow Meter Panel | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | YES
S55 | D5 Distribution Board | South East Corner | General Power | Ian Mullacrane |  |  |  |  | YES
S56 | Air Compressor | South East Corner | Compressed Air | Tim Hayler |  |  |  |  | YES
S57 | DSA PPS Magnetic Door Switch | South East Corner | PPS | Craig Macwaters |  |  |  |  | YES
S58 | DSA Signage Sounder Search Point | South East Corner | PPS | Craig Macwaters |  |  |  |  | YES
S59 | Fire Bell and Beacon | South East Corner | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES
S60 | DSA ISIS Computer | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | YES
S61 | PH Moving Beam Stop |  | Infrastructure | Stewart Greenall |  |  |  |  | YES
S62 | DSA Muon Beam DSA Light | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | YES
S63 | CMS ION Neutron Monitor | South East Corner |  | Francis Burge |  |  |  |  | YES
S64 | Thermometer | South East Corner |  | #N/A |  |  |  |  | YES
S65 | Fluorescent Lighting | Throughout | Infrastructure | Stewart Greenall |  |  |  |  | YES
S66 | Smoke Detectors | Throughout | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES
S67 | Pressure Gauge Dial | Trench |  | #N/A |  |  |  |  | YES
S68 | Control Box for Target | Trench | Target | Paul Smith |  |  |  |  | YES
S69 | Beam Position Box | Trench |  | #N/A |  |  |  |  | YES
S70 | Web Cam | Trench | Webcams | Henry Nebrenski |  |  |  |  | YES
S71 | Hall Sensor Breakout Box | Trench |  | #N/A |  |  |  |  | YES
S72 | Brunel Uni HEP GRP Dial | Trench | Brunel | Henry Nebrenski |  |  |  |  | YES
S73 | DC1 & 2 Polarity Box | Trench |  | #N/A |  |  |  |  | YES
S74 | mBar Dial | Trench |  | #N/A |  |  |  |  | YES
S75 | KLIXON Junction Box 1 & 2 | Trench | General Power | Ian Mullacrane |  |  |  |  | YES
S76 | D2, Q4-6 Flow Meters | Trench |  | Mike Courthold |  |  |  |  | YES
S77 | Flow Meter Panel 2 & 3 | Trench |  | Mike Courthold |  |  |  |  | YES
S78 | Environmental Sensor | Trench |  | Pierrick Hanlet |  |  |  |  | YES
S79 | Q7-9 Flow Meters | Trench |  | Mike Courthold |  |  |  |  | YES
S80 | Fire Bell | Trench | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | YES
S81 | Pressure Gauge Dial | Trench |  | #N/A |  |  |  |  | YES
S82 | Grundfos Pumps X 2 | Trench |  | John Govans |  |  |  |  | YES
S83 | Flow Meter | Trench |  | #N/A |  |  |  |  | YES
S84 | Temperature Sensor Box | Trench |  | #N/A |  |  |  |  | YES
S85 | Filtration System | Trench |  | #N/A |  |  |  |  | YES
S86 | Compressor | Trench | Compressed Air | Tim Hayler |  |  |  |  | YES
S87 | D10 Board and Isolator | Trench | General Power | Ian Mullacrane |  |  |  |  | YES

## Large Objects (ALL)
Item No. | Object | Location | System | System Owner | Sesitive Components (Max in Air [Gauss]) | Magnetic Mass | Risk Level | Notes | Installed | AFC | Tom Bradshaw
L1 | Sub Station 25 | North Wall | General Power | Ian Mullacrane |  |  |  |  | Yes | Beam Stop | Geoff Barber
L2 | Linac Shield Wall | North Wall | Magnetic Mass | #N/A |  |  |  | not sensitive itself but has it been included in models as a magnetic mass? | Yes | cKOV | Lucien Cremaldi
L3 | MQ4-9 | North Wall |  | Mike Courthold |  |  |  |  | Yes | Compressed Air | Tim Hayler
L4 | MD1 | North Wall |  | Mike Courthold |  |  |  |  | Yes | Conventional Magnets | Henry Nebrensky
L5 | MQ1-3 | North Wall |  | Mike Courthold |  |  |  |  | Yes | Decay Solenoid | Vicky Bayliss/Mike Courthold
L6 | Beam Chopper Rack | North Wall | ISIS | Alan Stevens |  |  |  |  | Yes | Diffuser | Victoria Blackmore
L7 | Rack | North Wall | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | Yes | EMR | Ruslan Asfandiarov
L8 | Solenoid Rack | North Wall | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | Yes | Fire Protection | Ron Lambert/Andy Nichols
L9 | Air Con Units East | North Wall | Air Conditioning | John Govans |  |  |  |  | Yes | General Power | Ian Mullacrane
L10 | Air Con Units West | North Wall | Air Conditioning | John Govans |  |  |  |  | Yes | Global Vacuum | Vishal Francis
L11 | Cranes | Global |  | Stewart Greenall |  |  |  |  | Yes | KL | Ludovico Tortora
L12 | Air Con Unit | Behind Beam Dump | Air Conditioning | John Govans |  |  |  |  | Yes | LH2 | Stephen Watson
L13 | HV Rack | South Wall | General Power | Ian Mullacrane |  |  |  |  | Yes | Luminosity Monitor | Paul Soler
L14 | Compressor (Sumitomo) | South Shield Wall | Tracker | Craig Macwaters |  |  |  |  | Yes | MLCR | Craig Macwaters
L15 | Linde Helium Fridge | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | Yes | Networking | Craig Macwaters
L16 | Tracker Racks | Central | Tracker | Craig Macwaters |  |  |  |  | Yes | PPS | Craig Macwaters
L17 | Air Con | South Mezz | Air Conditioning | John Govans |  |  |  |  | Yes | Radiation Shutter | Norbert Collomb
L18 | LH2 Gas Panel | South Mezz | LH2 | Stephen Watson |  |  |  |  | Yes | RF Distribution | Alan Grant
L19 | Spectrometer Solenoid | Cooling Channel | Spectrometer Solenoid | Roy Preece |  |  |  |  | No | RFCC | Alan DeMello
L20 | AFC | Cooling Channel | AFC | Tom Bradshaw |  |  |  |  | No | Spectrometer Solenoid | Roy Preece
L21 | Spectrometer Solenoid 2 | Cooling Channel | Spectrometer Solenoid | Roy Preece |  |  |  |  | No | Target | Paul Smith
L22 | KL | Cooling Channel | KL | Ludovico Tortora |  |  |  |  | No | TOF0 | Maurizio Bonesini
L23 | EMR | Cooling Channel | EMR | Ruslan Asfandiarov |  |  |  |  | No | TOF1 | Maurizio Bonesini
L24 | TOF2 | Cooling Channel | TOF2 | Maurizio Bonesini |  |  |  |  | No | TOF2 | Maurizio Bonesini
L25 | RF System | Cooling Channel | RFCC | Alan DeMello |  |  |  |  | No | Tracker | Craig Macwaters
L26 | RF Tiara | Cooling Channel | RFCC | Alan DeMello |  |  |  |  | No | Water | Tim Hayler
L27 | Global Vacuum System | Global | Global Vacuum | Vishal Francis |  |  |  |  | No
L28 | RFCC Control Rack X7 | North Wall | RFCC | Alan DeMello |  |  |  |  | No
L29 | RFCC Control Rack X2 | Upstream CC | RFCC | Alan DeMello |  |  |  |  | No
L30 | Tracker Cryocooler | SS1 | Tracker | Craig Macwaters |  |  |  |  | No
L31 | Tracker Cryocooler | SS2 | Tracker | Craig Macwaters |  |  |  |  | No
L32 | Compressor (cryomech) | South Shield Wall | LH2 | Stephen Watson |  |  |  |  | Yes

## Fire Protection (AN)
Item No. | Object | Location | System | System Owner | Sensitive Components (Max in Air [Gauss]) | Magnetic Mass | Risk Level | Notes | Installed
S1 | Fire Break Glass | West Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S2 | Fire Alarm Control Box | West Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S7 | Fire Bell and Beacon | West Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S14 | Fire Bell and Beacon | North Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S15 | Fire Break Glass | North Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S20 | Fire Bell and Beacon | North Wall | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S29 | Fire Beacon | North Wall Mezz | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S36 | Fire Bell | South Wall Mezz | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S43 | Fire Bell and Beacon | South Wall Ground | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S45 | Fire Bell | South Wall Ground | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S59 | Fire Bell and Beacon | South East Corner | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S66 | Smoke Detectors | Throughout | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes
S80 | Fire Bell | Trench | Fire Protection | Ron Lambert/Andy Nichols |  |  |  |  | Yes

## General Power (IM)
Item No. | Object | Location | System | System Owner | Sensitive Components (Max in Air [Gauss]) | Magnetic Mass | Risk Level | Notes | Installed
S4 | Switch Board D1 | West Wall | General Power | Ian Mullacrane |  |  |  |  | Yes
S11 | D16 Circuit Breakers X4 | North Wall | General Power | Ian Mullacrane |  |  |  |  | Yes
S18 | D4 PSU Distribution Box | North Wall | General Power | Ian Mullacrane |  |  |  |  | Yes
S21 | MCB's | North Wall | General Power | Ian Mullacrane |  |  |  |  | Yes
S26 | Power Isolation Box | North Wall Mezz | General Power | Ian Mullacrane |  |  |  |  | Yes
S27 | Emergency Lighting Contactor | North Wall Mezz | General Power | Ian Mullacrane |  |  |  |  | Yes
S32 | North Mezz Extension Distribution Board | North Wall Mezz | General Power | Ian Mullacrane |  |  |  |  | Yes
S33 | Distribution Board | South Wall Mezz | General Power | Ian Mullacrane |  |  |  |  | Yes
S50 | DSA MCB D11 | South East Corner | General Power | Ian Mullacrane |  |  |  |  | Yes
S55 | D5 Distribution Board | South East Corner | General Power | Ian Mullacrane |  |  |  |  | Yes
S75 | KLIXON Junction Box 1 & 2 | Trench | General Power | Ian Mullacrane |  |  |  |  | Yes
S87 | D10 Board and Isolator | Trench | General Power | Ian Mullacrane |  |  |  |  | Yes
L1 | Sub Station 25 | North Wall | General Power | Ian Mullacrane |  |  |  |  | Yes
L13 | HV Rack | South Wall | General Power | Ian Mullacrane |  |  |  |  | Yes

## PPS (CM)
Item No. | Object | Location | System | System Owner | Sensitive Components (Max in Air [Gauss]) | Magnetic Mass | Risk Level | Notes | Installed
S5 | PPS Magnetic Door Switch | West Wall | PPS | Craig Macwaters |  |  |  |  | Yes
S6 | PPS Status Light Circuit Breaker | West Wall | PPS | Craig Macwaters |  |  |  |  | Yes
S8 | Klaxon | West Wall | PPS | Craig Macwaters |  |  |  |  | Yes
S13 | PPS Blue/White Light Test Box | North Wall | PPS | Craig Macwaters |  |  |  |  | Yes
S16 | RF Cage PPS Magnetic Door Switch X2 | North Wall | PPS | Craig Macwaters |  |  |  |  | Yes
S17 | RF Cage PPS Junction Box | North Wall | PPS | Craig Macwaters |  |  |  |  | Yes
S22 | Magnet ON Light PPS | North Wall | PPS | Craig Macwaters |  |  |  |  | Yes
S23 | PPS Magnetic Door Switch | North Wall Mezz | PPS | Craig Macwaters |  |  |  |  | Yes
S34 | PPS LH2 Search Junction Box | South Wall Mezz | PPS | Craig Macwaters |  |  |  |  | Yes
S35 | PPS LH2 Magentic Door Switch | South Wall Mezz | PPS | Craig Macwaters |  |  |  |  | Yes
S42 | PPS Speaker | South Wall Ground | PPS | Craig Macwaters |  |  |  |  | Yes
S48 | PPS Coil Feed Blue/White Light | South Wall Ground | PPS | Craig Macwaters |  |  |  |  | Yes
S57 | DSA PPS Magnetic Door Switch | South East Corner | PPS | Craig Macwaters |  |  |  |  | Yes
S58 | DSA Signage Sounder Search Point | South East Corner | PPS | Craig Macwaters |  |  |  |  | Yes

## LH2 (SW)
Item No. | Object | Location | System | System Owner | Sensitive Components (Max in Air [Gauss]) | Magnetic Mass | Risk Level | Notes | Installed
S37 | LH2 Heater PSU | South Wall Mezz | LH2 | Stephen Watson |  |  |  |  | Yes
S38 | LH2 Relays | South Wall Mezz | LH2 | Stephen Watson |  |  |  |  | Yes
S39 | Pressure Gauge Dial | South Wall Mezz | LH2 | Stephen Watson |  |  |  |  | Yes
S40 | D14 LH2 Mezz Power | South Wall Mezz | LH2 | Stephen Watson |  |  |  |  | Yes
L18 | LH2 Gas Panel | South Mezz | LH2 | Stephen Watson |  |  |  |  | Yes

## RF Distribution (AG)
Item No. | Object | Location | System | System Owner | Sensitive Components (Max in Air [Gauss]) | Magnetic Mass | Risk Level | Notes | Installed
S10 | D18 RF Distribution Board | North West Corner | RF Distribution | Alan Grant |  |  |  |  | Yes
S19 | RF Services D6 Power Feed | North Wall | RF Distribution | Alan Grant |  |  |  |  | Yes
S24 | RF Mezz Search Junction Box | North Wall Mezz | RF Distribution | Alan Grant |  |  |  |  | Yes

## Decay Solenoid (MC)
Item No. | Object | Location | System | System Owner | Sensitive Components (Max in Air [Gauss]) | Magnetic Mass | Risk Level | Notes | Installed
S51 | DSA Indication Box | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | Yes
S60 | DSA ISIS Computer | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | Yes
S62 | DSA Muon Beam DSA Light | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | Yes
L8 | Solenoid Rack | North Wall | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | Yes
L15 | Linde Helium Fridge | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | Yes
L7 | Rack-Gas Pipes etc | North Wall | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | Yes
S52 | Linde Gas Analyser | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | YES
S53 | Fan | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | YES
S54 | Flow Meter Panel | South East Corner | Decay Solenoid | Vicky Bayliss/Mike Courthold |  |  |  |  | YES

## Infrastructure (SG)
Item No. | Object | Location | System | System Owner | Sensitive Components (Max in Air [Gauss]) | Magnetic Mass | Risk Level | Notes | Installed
S3 | Fluorescent Exit Sign | West Wall | Infrastructure | Stewart Greenall |  |  |  |  | YES
S12 | Fluorescent Light | North Wall | Infrastructure | Stewart Greenall |  |  |  |  | YES
S28 | Roof Fan Controls | North Wall Mezz | Infrastructure | Stewart Greenall |  |  |  |  | YES
S41 | Crane Status Lights | South Wall Mezz | Infrastructure | Stewart Greenall |  |  |  |  | YES
S61 | PH Moving Beam Stop |  | Infrastructure | Stewart Greenall |  |  |  |  | YES
S65 | Fluorescent Lighting | Throughout | Infrastructure | Stewart Greenall |  |  |  |  | YES

## Magnetic Masses
Magnetic Masses to be Considered in Magnetic Model
Linac Shield Wall
Buried Magnets Behind Beam Dump
False Floor Structure
DSA Block House
North Mezz
South Mezz Stairs
Transformer Wall
PPS Cages
Trench Flooring
False Floor Behind North Shield Wall